## Slide 1: Energy Scenario

## Slide 2
Generation :: Heart
RLDC::Brain
Sub-Transmission :: Sub-Arteries
Transmission :: Main Arteries
Distribution :: Capillaries
USER
An Analogy – Power System vs Human Body
Regional Load Despatch Centre

## Slide 3
Energy Flow Diagram
PRIMARY ENERGY
SECONDARY ENERGY
COAL, OIL, SOLAR, GAS
POWER PLANTS, REFINERIES
REFINED OIL, ELECTRICITY
RAILWAYS, TRUCKS, PIPELINES
WHAT CONSUMED BY DILIVERED
ENERGY
AUTOMOBILE, LAMP,MOTOR,
STOVE
MOTIVE POWER, RADIENT ENERGY
DISTANCE TRAVELLED, ILLUMINATION,
COOKED FOOD, ETC.
ENERGY CONVERSION FACILITY
TRANSMISSON & DISTN. SYSTEMS
FINAL ENERGY
ENERGY UTILISATION EQUIP. & SYSTEMS
USEFUL ENERGY
END USE ACTIVITY
PRIMARY ENERGY
SECONDARY ENERGY

## Slide 4
World net electricity generation by fuel (Trillion kWh) during 2007–2035

## Slide 5
Share of global energy demand
Global energy demand rises by over one‐third in the period to 2035,
underpinned by rising living standards in China, India & the Middle East
Organization for Economic Co-operation and Development
Mtoe - Million Tonnes of Oil Equivalent
energy released by burning one tonne of crude oil. approximately 42 GJ

## Slide 6
World renewable energy generation by energy source, excluding wind and hydropower, 2007–2035 (billion kWh)

## Slide 8
Renewables Gain Share

## Slide 9
2008-09

## Slide 10
2021-22
Per Capita Electricity Consumption of India (kWh/Year)

## Slide 11
Per Capita Energy Consumption in MegaJoules in India

## Slide 12
Total Energy Consumption in MegaJoules in India

## Slide 15
Plant load factor = Actual generation / Max possible
generation (rated load)
Plant Heat Rate = Heat input / Electricity output
Net Power = Gross – Auxiliary Consumption
The electricity sector in India had an installed capacity of 482.232 GW (or 1,719 TWh) as on 31 March 2022. (World 24,398 TWh)
Per capita electricity consumption of India in 2022-23 is 1255 kWh/year (world average - 3081 kWh/year)

## Slide 16
State wise installed capacity in MW (2012)

## Slide 19
Compound Annual Growth Rate of production of of Energy resources in India

## Slide 20
Yearwise net availability of Electricity in GWh

## Slide 21
Yearwise Installed Capacity of Electricity Generation of Electricity in India (MW)

## Slide 22
Source wise Estimated Potential of Renewable Power in INDIA

## Slide 23: State wise Estimated Potential of Renewable Power in INDIA

## Slide 24: Regionwise Installed Generating Capacity of Electricity In india

## Slide 25
Yearwise net imports of coal, cruid oil and petroleum products in Million Tonnes in India

## Slide 26
Yearwise Production of Energy Resources in Energy Units (Petajoules) in INDIA

## Slide 27
Sector wise Consumption of Electricity

## Slide 28
Sector wise Consumption of Electricity

## Slide 29: Potential Challenges of india
i. Enhancing capacity for growth
ii. Enhancing skills and faster generation of employment
iii. Managing the environment
iv. Markets for efficiency and inclusion
v. Decentralization, Empowerment and Information
vi. Technology and innovation
vii. Securing the energy future for India
viii. Accelerated development of transport infrastructure
ix. Rural Transformation and Sustained Growth of Agriculture
x. Managing Urbanization
xi. Improved access to Quality Education
xii. Better preventive and curative healthcare

## Slide 30
Thank you